- To be completed and forwarded to the MFS Community Safety and Resilience Department with completed MFS Referral Forms BE02 to BE05, as relevant to the project.

- The MFS is unable to commence the fire authority comment and report process until all entries in this form are completed.  Where an entry is not relevant, please enter “Not Applicable” or “NA”.  If an entire section or table is not applicable, please delete that section/table from the submitted form.  An incomplete form will not be accepted.

- This form has been provided in Microsoft Word format for your convenience and to assist in expediting the referral process.  Once downloaded from the website it is no longer a controlled document.  Please ensure the latest version of the form is being used, available at:  https://www.mfs.sa.gov.au/community/building-and-commercial-fire-safety/compliance-and-regulation/pdi-regulation-45-building-design-consultation

Details of Referral

| Development Reference Name | Project Name |  |  |
| --- | --- | --- | --- |
| Development Application Number |  |  |  |
| Premises Address | [Company Address] |  |  |
| Council Area | Choose an item. |  |  |
| Land ownership | Choose an item. |  |  |
| Building Owner |  |  |  |
| Primary governing legislation |  |  |  |
| Acts | ☐ Planning, Development and Infrastructure (PDI) Act 2016 ☐ Airports Act 1996 ☐ Defence Act 1903 |  |  |
| Regulations | ☐ Planning, Development and Infrastructure Regulations (General) 2017 ☐ Airports (Building Control) Regulations 1996 ☐ Defence Regulation 2016 |  |  |
| Codes/Publications | ☐ National Construction Code, Building Code of Australia 2022 ☐ Ministerial Building Standard MBS 001 ☐ Building Works Manual – Edition 1, AL4 2023 |  |  |
| Relevant building approval authority | Role: |  | Choose an item. |
|  | Name: |  |  |
|  | Organisation: |  |  |
| Type of Development | ☐ | New building |  |
|  | ☐ | Extension or alteration of existing building |  |
|  | ☐ | Internal alterations to existing building only (e.g. tenancy fitout) |  |
|  | ☐ | Change in use of existing building (with or without alterations) |  |
|  | ☐ | Other: <e.g. temporary structure> |  |
| Nature of Referral | Choose an item. |  |  |
| Cause(s) for Referral | ☐ | Reg. 45(1)(a): A proposed performance solution within the meaning of the Building Code requires assessment against a performance requirement of the Building Code which provides for the intervention of a fire authority |  |
|  | ☐ | Reg. 45(1)(b): The proposed development is at variance with a performance requirement of the Building Code which provides for the intervention of a fire authority |  |
|  | ☐ | Reg 45(1)(c): Special problems for firefighting could arise due to hazardous conditions of a kind described in Section E of the Building Code |  |
| Also applicable | ☐ | PDI Act Section 134 fire safety upgrade |  |
|  | ☐ | PDI Act Section 157 Notice (Building Fire Safety Committee) |  |

Project Stakeholders

| Role | Company | Name |
| --- | --- | --- |
| Certifier |  |  |
| Fire Engineering Consultant |  |  |
| BCA Consultant |  |  |
| Building Services Consultant |  |  |
| Fire Services Contractor |  |  |

Building Characteristics and Fire Hazards

Note:	Where multiple buildings are involved, please duplicate and complete this table separately for each building.

| Building Name |  |
| --- | --- |
| Building Classification/s [BCA A6] |  |
| Primary building use |  |
| Type of construction | Choose an item. |
| Overall building area | m2 |
| Max. fire compartment area | m2 |
| Max. fire compartment volume | m3 |
| Compartment sizes | Choose an item. |
| Rise in storeys [BCA Schedule 1] |  |
| Total number of storeys contained |  |
| Effective height [BCA Schedule 1] | m |

Other notable building characteristics and/or fire hazards:

| Characteristic | Details (to be provided by applicant) |
| --- | --- |
| ☐ Built form | e.g. multiple towers/structures above common basement or podium |
| ☐ Construction composition | e.g. unique or mixed construction |
| ☐ Atria (connecting two or more storeys) | e.g. location, size, number of storeys connected |
| ☐ Elevated usable outdoor areas | e.g. rooftops, podium, spectator seating |
| ☐ Car stacker(s) | e.g. type, location, emergency controls |
| ☐ Jet/impulse fans | e.g. number, location, action in fire mode |
| ☐ Battery / vehicle charging facilities | e.g. type, location, emergency controls |
| ☐ Automated racking storage (ASRS) | e.g. type, location |
| ☐ Battery energy storage system (BESS) | e.g. type, location, capacity |
| ☐ Energy generation systems | e.g. type (solar PV, generator, etc.), location, emergency controls |
| ☐ Dangerous goods storage | e.g. type, location, precautions |
| ☐ Special hazards |  |
| ☐ Other: |  |

MFS Built Environment Section Policies & Guidance Documentation

Built Environment Section Policies, Guidelines and Equipment Specifications may be downloaded from:

https://www.mfs.sa.gov.au/community/building-and-commercial-fire-safety/guidelines-and-information

The documents referenced on the website may be updated and amended from time to time.  Please ensure you are using the latest available advice and reference materials.

Please tick all that apply and/or provide comments as appropriate.

| Valid | Document | Content Applied | Comments |
| --- | --- | --- | --- |
| Equipment Specifications |  |  |  |
| ☐ | SAMFS Equipment Specification 001 Storz Couplings, Adaptors & Reducers | ☐ |  |
| BES Policies |  |  |  |
| ☐ | Policy 006 Control & Indication for Diesel & Electric Fire Pumps | ☐ |  |
| ☐ | Policy 014 Above Ground Water Storage Tanks for Fire Fighting Purposes | ☐ |  |
| ☐ | Policy 037 Fire Alarm Conditions of Connection | ☐ |  |
| BES Guidelines |  |  |  |
| ☐ | MFS Fire Safety Guideline for Building Fire System Precis | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Car Stackers | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Childcare Facilities in Multi-storey Buildings | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Dry Fire Hydrant Systems | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Emergency Evacuation of Cinemas | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Fire Risk Strategy for Recyclable Metal Stockpile Management | ☐ |  |
| ☐ | MFS Fire Safety Guideline for General Guidelines for Rubber Tyre Storage | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Hot Smoke Testing | ☐ |  |
| ☐ | MFS Fire Safety Guideline for Marina Firefighting Systems | ☐ |  |
| ☐ | MFS Fire Safety Guidelines for Scissor Stairs | ☐ |  |
| AFAC Guidelines |  |  |  |
| ☐ | Design, installation and maintenance requirements for dry hydrants | ☐ |  |
| ☐ | Fire Safety for Impulse (Jet) Fans in Car Parks | ☐ |  |
| ☐ | Fire Safety Principles for Massive Timber Building Systems | ☐ |  |
| ☐ | Fire Safety Requirements for Automated Vehicle Parking Systems | ☐ |  |
| ☐ | Fire Safety in Waste Management Facilities | ☐ |  |

Referral Documentation

| FIRE ENGINEERING PERFORMANCE BASED DESIGN REPORTS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Report Title | Report ID | Revision | Date | Author |

| SPECIAL HAZARD REPORT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Report Title | Report ID | Revision | Date | Author |

| FIRE SERVICES DRAWINGS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Drawing Title | Drawing No. | Revision | Date | Author |

| MECHANICAL SERVICES DRAWINGS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Drawing Title | Drawing No. | Revision | Date | Author |

| ARCHITECTURAL DRAWINGS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Drawing Title | Drawing No. | Revision | Date | Author |

| SA WATER & HYDRAULIC DOCUMENTATION |  |  |  |
| --- | --- | --- | --- |
| Document Title | SA Water Ref | Date | Location |